## Sheet1
BATCH NA20200211-5D | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8V1-9000-0391-23J0 | pass | completed QA 12/1/20 | JOSE A.
2 | G8V1-9000-0391-2448 | pass | completed QA 12/1/20 | JOSE A.
3 | G8V1-9000-0391-2452 | pass | completed QA 12/1/20 | JOSE A.
4 | G8V1-9000-0391-244X | pass | completed QA 12/1/20 | JOSE A.
5 | G8V1-9000-0391-243D | pass | completed QA 12/1/20 | JOSE A.
6 | G8V1-9000-0391-244F | pass | completed QA 12/1/20 | JOSE A.
7 | G8V1-9000-0391-23XT | pass | completed QA 12/1/20 | JOSE A.
8 | G8V1-9000-0391-2436 | pass | completed QA 12/1/20 | JOSE A.
9 | G8V1-9000-0391-243L | pass | completed QA 12/1/20 | JOSE A.
10 | G8V1-9000-0391-243Q | pass | completed QA 12/1/20 | JOSE A.
11 | G8V1-9000-0391-2438 | pass | completed QA 12/1/20 | JOSE A.
12 | G8V1-9000-0391-243E | pass | completed QA 12/1/20 | JOSE A.
13 | G8V1-9000-0391-2449 | pass | completed QA 12/1/20 | JOSE A.
14 | G8V1-9000-0391-23XC | pass | completed QA 12/1/20 | JOSE A.
15 | G8V1-9000-0391-242S | pass | completed QA 12/1/20 | JOSE A.
16 | G8V1-9000-0391-243C | pass | completed QA 12/1/20 | JOSE A.
17 | G8V1-9000-0391-2439 | pass | completed QA 12/1/20 | JOSE A.
18 | G8V1-9000-0391-2445 | pass | completed QA 12/1/20 | JOSE A.
19 | G8V1-9000-0391-2435 | pass | completed QA 12/1/20 | JOSE A.
20 | G8V1-9000-0391-242X | pass | completed QA 12/1/20 | JOSE A.
21 | G8V1-9000-0391-23QV | pass | completed QA 12/1/20 | JOSE A.
22 | G8V1-9000-0391-243V | pass | completed QA 12/1/20 | JOSE A.
23 | G8V1-9000-0391-243F | pass | completed QA 12/1/20 | JOSE A.
24 | G8V1-9000-0391-244T | pass | completed QA 12/1/20 | JOSE A.
BATCH EU20200422-A4N | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9400-0164-0P2X |  | UK+EU MINI | JOSE A.
2 | G8T1-9400-0164-0NWL |  | UK+EU MINI | JOSE A.
3 | G8T1-9400-0164-0NX5 |  | UK+EU MINI | JOSE A.
4 | G8T1-9400-0164-0P80 |  | UK+EU MINI | JOSE A.
5 | G8T1-9400-0164-0P65 |  | UK+EU MINI | JOSE A.
6 | G8T1-9400-0164-0P6J |  | UK+EU MINI | JOSE A.
7 | G8T1-9400-0164-0P10 |  | UK+EU MINI | JOSE A.
8 | G8T1-9400-0164-0NXK |  | UK+EU MINI | JOSE A.
9 | G8T1-9400-0164-0NX4 |  | UK+EU MINI | JOSE A.
10 | G8T1-9400-0164-0P5J |  | UK+EU MINI | JOSE A.
11 | G8T1-9400-0164-0P30 |  | UK+EU MINI | JOSE A.
12 | G8T1-9400-0164-0PAE |  | UK+EU MINI | JOSE A.
BATCH EU20200422-A8D | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9400-0164-0LH2 |  | UK+EU MINI | JOSE A.
2 | G8T1-9400-0164-0LP8 |  | UK+EU MINI | JOSE A.
3 | G8T1-9400-0164-0LGD |  | UK+EU MINI | JOSE A.
4 | G8T1-9400-0164-0LQ4 |  | UK+EU MINI | JOSE A.
5 | G8T1-9400-0164-0LPS |  | UK+EU MINI | JOSE A.
6 | G8T1-9400-0164-0LHX |  | UK+EU MINI | JOSE A.
7 | G8T1-9400-0164-OLA1 |  | UK+EU MINI | JOSE A.
8 | G8T1-9400-0164-0LML |  | UK+EU MINI | JOSE A.
9 | G8T1-9400-0164-0LPV |  | UK+EU MINI | JOSE A.
10 | G8T1-9400-0164-0LJF |  | UK+EU MINI | JOSE A.
11 | G8T1-9400-0164-0LMR |  | UK+EU MINI | JOSE A.
12 | G8T1-9400-0164-0LE0 | FAIL | UK+EU MINI WHW- (PTT Feature not working) | JOSE A.
BATCH EU20201012-A16? | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9400-0173-2HR9 | pass | UK+EU MINI WHW-58 (Shift in different language)/completed QA 12/2/20 | JOSE A.
2 | G8T1-9400-0173-2KUF | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
3 | G8T1-9400-0173-2KRU | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
4 | G8T1-9400-0173-2HS6 | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
5 | G8T1-9400-0173-2HN6 | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
6 | G8T1-9400-0173-2HTC | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
7 | G8T1-9400-0173-2HSG | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
8 | G8T1-9400-0173-2HNB | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
9 | G8T1-9400-0173-2HU2 | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
10 | G8T1-9400-0173-2NHF | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
11 | G8T1-9400-0173-2HM7 | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
12 | G8T1-9400-0173-2KEX | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
13 | G8T1-9400-0173-2KQS | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
14 | G8T1-9400-0173-2HQU | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
15 | G8T1-9400-0173-2HTL | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
16 | G8T1-9400-0173-2HMJ | pass | UK+EU MINI WHW-58/completed QA 12/2/20 | JOSE A.
BATCH NA20201102-A15? | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9000-0311-36TE | pass | WHW-58 (Shift in different language) /completed QA 11/25/20 | JOSE A.
2 | G8T1-9000-0311-29MS | pass | WHW-58/completed QA 11/25/20 | JOSE A.
3 | G8T1-9000-0311-36QE | pass | WHW-58/completed QA 11/25/20 | JOSE A.
4 | G8T1-9000-0311-298N | pass | WHW-58/completed QA 11/25/20 | JOSE A.
5 | G8T1-9000-0311-29NB | pass | WHW-58/completed QA 11/25/20 | JOSE A.
6 | G8T1-9000-0311-29K8 | pass | WHW-58/completed QA 11/25/20 | JOSE A.
7 | G8T1-9000-0311-29QJ | pass | WHW-58/completed QA 11/25/20 | JOSE A.
8 | G8T1-9000-0311-29QB | pass | WHW-58/completed QA 11/25/20 | JOSE A.
9 | G8T1-9000-0311-29KB | pass | WHW-58/completed QA 11/25/20 | JOSE A.
10 | G8T1-9000-0311-29S0 | pass | WHW-58/completed QA 11/25/20 | JOSE A.
11 | G8T1-9000-0311-36T2 | pass | WHW-58/completed QA 11/25/20 | JOSE A.
12 | G8T1-9000-0311-29KJ | pass | WHW-58/completed QA 11/25/20 | JOSE A.
13 | G8T1-9000-0311-29R8 | pass | WHW-58/completed QA 11/25/20 | JOSE A.
14 | G8T1-9000-0311-29Q8 | pass | WHW-58/completed QA 11/25/20 | JOSE A.
15 | G8T1-9000-0311-29KC | pass | WHW-58/completed QA 11/25/20 | JOSE A.
16 | G8T1-9000-0311-29JQ | pass | WHW-58/completed QA 11/25/20 | JOSE A.
17 | G8T1-9000-0311-36UD | pass | WHW-58/completed QA 11/25/20 | JOSE A.
18 | G8T1-9000-0311-36Q3 | pass | WHW-58/completed QA 11/25/20 | JOSE A.
19 | G8T1-9000-0311-29RL | pass | WHW-58/completed QA 11/25/20 | JOSE A.
20 | G8T1-9000-0311-29PQ | pass | WHW-58/completed QA 11/25/20 | JOSE A.
21 | G8T1-9000-0311-29JA | pass | WHW-58/completed QA 11/25/20 | JOSE A.
22 | G8T1-9000-0311-29P4 | pass | WHW-58/completed QA 11/25/20 | JOSE A.
23 | G8T1-9000-0311-297P | pass | WHW-58/completed QA 11/25/20 | JOSE A.
24 | G8T1-9000-0311-29R5 | pass | WHW-58/completed QA 11/25/20 | JOSE A.
BATCH NA20201102-A19? | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9000-0311-2C38 | pass | WHW-58 (Shift in different language) /completed QA 11/27/20 | JOSE A.
2 | G8T1-9000-0311-2C42 | pass | WHW-58/completed QA 11/27/20 | JOSE A.
3 | G8T1-9000-0311-2BXA | pass | WHW-58/completed QA 11/27/20 | JOSE A.
4 | G8T1-9000-0311-2C4A | pass | WHW-58/completed QA 11/27/20 | JOSE A.
5 | G8T1-9000-0311-2C4P | pass | WHW-58/completed QA 11/27/20 | JOSE A.
6 | G8T1-9000-0311-2C1U | pass | WHW-58/completed QA 11/27/20 | JOSE A.
7 | G8T1-9000-0311-2C3C | pass | WHW-58/completed QA 11/27/20 | JOSE A.
8 | G8T1-9000-0311-2C4N | pass | WHW-58/completed QA 11/27/20 | JOSE A.
9 | G8T1-9000-0311-2C30 | pass | WHW-58/completed QA 11/27/20 | JOSE A.
10 | G8T1-9000-0311-2C44 | pass | WHW-58/completed QA 11/27/20 | JOSE A.
11 | G8T1-9000-0311-2BX0 | pass | WHW-58/completed QA 11/27/20 | JOSE A.
12 | G8T1-9000-0311-2C31 | pass | WHW-58/completed QA 11/27/20 | JOSE A.
13 | G8T1-9000-0311-2C2B | pass | WHW-58/completed QA 11/27/20 | JOSE A.
14 | G8T1-9000-0311-2C47 | pass | WHW-58/completed QA 11/27/20 | JOSE A.
15 | G8T1-9000-0311-2C41 | pass | WHW-58/completed QA 11/27/20 | JOSE A.
16 | G8T1-9000-0311-2C16 | pass | WHW-58/completed QA 11/27/20 | JOSE A.
17 | G8T1-9000-0311-2BX5 | pass | WHW-58/completed QA 11/27/20 | JOSE A.
18 | G8T1-9000-0311-2C4M | pass | WHW-58/completed QA 11/27/20 | JOSE A.
19 | G8T1-9000-0311-2C3E | pass | WHW-58/completed QA 11/27/20 | JOSE A.
20 | G8T1-9000-0311-2BXN | pass | WHW-58/completed QA 11/27/20 | JOSE A.
21 | G8T1-9000-0311-2BXL | pass | WHW-58/completed QA 11/27/20 | JOSE A.
22 | G8T1-9000-0311-2C4J | pass | WHW-58/completed QA 11/27/20 | JOSE A.
23 | G8T1-9000-0311-2C3F | pass | WHW-58/completed QA 11/27/20 | JOSE A.
24 | G8T1-9000-0311-2C4D | pass | WHW-58/completed QA 11/27/20 | JOSE A.
BATCH EU20201012-A14? | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9400-0173-2JFB | pass | UK+EU MINI WHW-58 (Shift in different language)/Updated firmware 12/24/2020 | JORDYS
2 | G8T1-9400-0173-2J4A | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
3 | G8T1-9400-0173-2JEN | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
4 | G8T1-9400-0173-2JF1 | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
5 | G8T1-9400-0173-2J3H | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
6 | G8T1-9400-0173-2J6C | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
7 | G8T1-9400-0173-2JG2 | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
8 | G8T1-9400-0173-2J85 | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
9 | G8T1-9400-0173-2JAX | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
10 | G8T1-9400-0173-2J8L | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
11 | G8T1-9400-0173-2JGF | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
12 | G8T1-9400-0173-2J8G | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
13 | G8T1-9400-0173-2JFF | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
14 | G8T1-9400-0173-2JCL | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
15 | G8T1-9400-0173-2J96 | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
16 | G8T1-9400-0173-2J7W | pass | UK+EU MINI WHW-58/Updated firmware 12/24/2020 | JORDYS
BATCH NA20200504-A5D | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9000-0164-21RE | Pass | Updated & Completed 1/14/21 | JORDYS
2 | G8T1-9000-0164-20TW | pass | Updated & Completed 1/14/21 | JORDYS
3 | G8T1-9000-0164-235W | pass | Updated & Completed 1/14/21 | JORDYS
4 | G8T1-9000-0164-20XH | pass | Updated & Completed 1/14/21 | JORDYS
5 | G8T1-9000-0164-21QG | pass | Updated & Completed 1/14/21 | JORDYS
6 | G8T1-9000-0164-21TE | pass | Updated & Completed 1/14/21 | JORDYS
7 | G8T1-9000-0164-235R | pass | Updated & Completed 1/14/21 | JORDYS
8 | G8T1-9000-0164-21UB | pass | Updated & Completed 1/14/21 | JORDYS
9 | G8T1-9000-0164-235R |  | DUPLICATE SERIAL NUMBER | JORDYS
10 | G8T1-9000-0164-21UE |  | DUPLICATE SERIAL NUMBER | JORDYS
11 | G8T1-9000-0164-2369 | pass | Updated & Completed 1/14/21 | JORDYS
12 | G8T1-9000-0164-23HU | pass | Updated & Completed 1/14/21 | JORDYS
13 | G8T1-9000-0164-21TP | pass | Updated & Completed 1/14/21 | JORDYS
14 | G8T1-9000-0164-21R1 | pass | Updated & Completed 1/14/21 | JORDYS
15 | G8T1-9000-0164-21QX | pass | Updated & Completed 1/14/21 | JORDYS
16 | G8T1-9000-0164-23BW | pass | Updated & Completed 1/14/21 | JORDYS
17 | G8T1-9000-0164-23G2 | pass | Updated & Completed 1/14/21 | JORDYS
18 | G8T1-9000-0164-23G9 | pass | Updated & Completed 1/14/21 | JORDYS
19 | G8T1-9000-0164-23FX | pass | Updated & Completed 1/14/21 | JORDYS
20 | G8T1-9000-0164-21R6 | pass | Updated & Completed 1/14/21 | JORDYS
21 | G8T1-9000-0164-221N | pass | Updated & Completed 1/14/21 | JORDYS
22 | G8T1-9000-0164-220A | pass | Updated & Completed 1/14/21 | JORDYS
23 | G8T1-9000-0164-21RG | pass | Updated & Completed 1/14/21 | JORDYS
24 | G8T1-9000-0164-232H | pass | Updated & Completed 1/14/21 | JORDYS
BATCH NA20201102-A15? | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9000-0311-2BPF | pass | WHW-58 (Shift in different language)/Updated firmware 12/22/2020 | JORDYS
2 | G8T1-9000-0311-2BU7 | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
3 | G8T1-9000-0311-2BN0 | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
4 | G8T1-9000-0311-2BPR | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
5 | G8T1-9000-0311-2BRD | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
6 | G8T1-9000-0311-2BUP | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
7 | G8T1-9000-0311-2BMJ | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
8 | G8T1-9000-0311-2BNK | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
9 | G8T1-9000-0311-2BNT | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
10 | G8T1-9000-0311-2BTT | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
11 | G8T1-9000-0311-2BVS | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
12 | G8T1-9000-0311-2BRX | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
13 | G8T1-9000-0311-34JE | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
14 | G8T1-9000-0311-34JJ | pass | WHW-58 /Updated firmware 12/22/2020 | JORDYS
15 | G8T1-9000-0311-34JM | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
16 | G8T1-9000-0311-34GN | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
17 | G8T1-9000-0311-34K2 | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
18 | G8T1-9000-0311-34L1 | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
19 | G8T1-9000-0311-34LD | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
20 | G8T1-9000-0311-34F4 | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
21 | G8T1-9000-0311-34K4 | pass | WHW-58 /Updated firmware 12/22/2020 | JORDYS
22 | G8T1-9000-0311-34GG | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
23 | G8T1-9000-0311-34KN | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
24 | G8T1-9000-0311-34K9 | pass | WHW-58/Updated firmware 12/22/2020 | JORDYS
BATCH NA20200508-A4D | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9000-0164-5R5M | pass | Updated & Completed 1/20/21 | JORDYS
2 | G8T1-9000-0164-5R54 | pass | Updated & Completed 1/20/21 | JORDYS
3 | G8T1-9000-0164-5R65 | pass | Updated & Completed 1/20/21 | JORDYS
4 | G8T1-9000-0164-5R6G | pass | Updated & Completed 1/20/21 | JORDYS
5 | G8T1-9000-0164-5R8H | pass | Updated & Completed 1/20/21 | JORDYS
6 | G8T1-9000-0164-5R63 | pass | Updated & Completed 1/20/21 | JORDYS
7 | G8T1-9000-0164-5R79 | pass | Updated & Completed 1/20/21 | JORDYS
8 | G8T1-9000-0164-5RAE |  | DUPLICATE SERIAL NUMBER | JORDYS
9 | G8T1-9000-0164-5RCR | pass | Updated & Completed 1/20/21 | JORDYS
10 | G8T1-9000-0164-5R5R | pass | Updated & Completed 1/20/21 | JORDYS
11 | G8T1-9000-0164-5R6F | pass | MISSING FROM SHIPPING BOX | JORDYS
12 | G8T1-9000-0164-5R56 | pass | Updated & Completed 1/20/21 | JORDYS
13 | G8T1-9000-0164-5TQS | pass | Updated & Completed 1/20/21 | JORDYS
14 | G8T1-9000-0164-5T0S | pass | Updated & Completed 1/20/21 | JORDYS
15 | G8T1-9000-0164-5TKM | pass | MISSING FROM SHIPPING BOX | JORDYS
16 | G8T1-9000-0164-5TS5 | pass | Updated & Completed 1/20/21 | JORDYS
17 | G8T1-9000-0164-5TRN | pass | Updated & Completed 1/20/21 | JORDYS
18 | G8T1-9000-0164-5SQP | pass | Updated & Completed 1/20/21 | JORDYS
19 | G8T1-9000-0164-5TWH | pass | Updated & Completed 1/20/21 | JORDYS
20 | G8T1-9000-0164-5VAJ | pass | MISSING FROM SHIPPING BOX | JORDYS
21 | G8T1-9000-0164-5VA2 | pass | Updated & Completed 1/20/21 | JORDYS
22 | G8T1-9000-0164-5TEF | pass | Updated & Completed 1/20/21 | JORDYS
23 | G8T1-9000-0164-5TNQ | pass | Updated & Completed 1/20/21 | JORDYS
24 | G8T1-9000-0164-5VAB | pass | Updated & Completed 1/20/21 | JORDYS
Updated & Completed 1/20/21
BATCH NA20201102-A16? | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9000-0311-2A84 | pass | WHW-58 (Shift in different language)/Updated & Completed 1/12/21 | JORDYS
2 | G8T1-9000-0311-29HR | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
3 | G8T1-9000-0311-297X | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
4 | G8T1-9000-0311-29GR | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
5 | G8T1-9000-0311-297V | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
6 | G8T1-9000-0311-2A62 | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
7 | G8T1-9000-0311-29CM | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
8 | G8T1-9000-0311-29A3 | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
9 | G8T1-9000-0311-29DH | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
10 | G8T1-9000-0311-2A77 | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
11 | G8T1-9000-0311-2AAA | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
12 | G8T1-9000-0311-29FA | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
13 | G8T1-9000-0311-2997 | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
14 | G8T1-9000-0311-2AC0 | pass | WHW-58/Updated & Completed 1/12/21 | JORDYS
15 | G8T1-9000-0311-29C3 | pass | WHW-58/Paskale Took it MINI Cameras | JORDYS
16 | G8T1-9000-0311-29DR | pass | WHW-58/Paskale Took it MINI Cameras | JORDYS
17 | G8T1-9000-0311-29C0 | pass | WHW-58/Paskale Took it MINI Cameras | JORDYS
18 | G8T1-9000-0311-29CD | fail | WHW-58 (MINI Speaker not working when activating Hold to talk button) | JORDYS
19 | G8T1-9000-0311-2985 | pass | WHW-58/Paskale Took it MINI Cameras | JORDYS
20 | G8T1-9000-0311-29DE | pass | WHW-58/Paskale Took it MINI Cameras | JORDYS
21 | G8T1-9000-0311-2996 | pass | WHW-58/Paskale Took it MINI Cameras | JORDYS
22 | G8T1-9000-0311-299X | pass | WHW-58/Paskale Took it MINI Cameras | JORDYS
23 | G8T1-9000-0311-29B5 | pass | WHW-58/Paskale Took it MINI Cameras | JORDYS
24 | G8T1-9000-0311-299N | pass | WHW-58/Paskale Took it MINI Cameras | JORDYS
BATCH NA20200211-8D | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8V1-9000-0391-23KB | pass | Completed QC testing 12/1/2020 | JUNIOR
2 | G8V1-9000-0391-23L6 | pass | Completed QC testing 12/1/2020 | JUNIOR
3 | G8V1-9000-0391-23LL | pass | Completed QC testing 12/1/2020 | JUNIOR
4 | G8V1-9000-0391-23F5 | pass | Completed QC testing 12/1/2020 | JUNIOR
5 | G8V1-9000-0391-23K6 | pass | Completed QC testing 12/3/2020 | JUNIOR
6 | G8V1-9000-0391-23FW | pass | Completed QC testing 12/1/2020 | JUNIOR
7 | G8V1-9000-0391-23LR | pass | Completed QC testing 12/1/2020 | JUNIOR
8 | G8V1-9000-0391-23GM | pass | Completed QC testing 12/1/2020 | JUNIOR
9 | G8V1-9000-0391-23KG | pass | Completed QC testing 12/1/2020 | JUNIOR
10 | G8V1-9000-0391-23CA | pass | Completed QC testing 12/3/2020 | JUNIOR
11 | G8V1-9000-0391-23ME | pass | Completed QC testing 12/1/2020 | JUNIOR
12 | G8V1-9000-0391-23J3 | pass | Completed QC testing 12/3/2020 | JUNIOR
13 | G8V1-9000-0391-21V3 | pass | Completed QC testing 12/3/2020 | JUNIOR
14 | G8V1-9000-0391-202G | pass | Completed QC testing 12/3/2020 | JUNIOR
15 | G8V1-9000-0391-21NW | pass | Completed QC testing 12/1/2020 | JUNIOR
16 | G8V1-9000-0391-21TN | pass | Completed QC testing 12/3/2020 | JUNIOR
17 | G8V1-9000-0391-21PE | pass | Completed QC testing 12/3/2020 | JUNIOR
18 | G8V1-9000-0391-21UG | pass | Completed QC testing 12/3/2020 | JUNIOR
19 | G8V1-9000-0391-1XE8 | pass | Completed QC testing 12/3/2020 | JUNIOR
20 | G8V1-9000-0391-21M6 | pass | Completed QC testing 12/3/2020 | JUNIOR
21 | G8V1-9000-0391-21QJ | pass | Completed QC testing 12/3/2020 | JUNIOR
22 | G8V1-9000-0391-21T6 | pass | Completed QC testing 12/3/2020 | JUNIOR
23 | G8V1-9000-0391-21T1 | pass | Completed QC testing 12/3/2020 | JUNIOR
24 | G8V1-9000-0391-2017 | pass | Completed QC testing 12/3/2020 | JUNIOR
BATCH NA20200211-7D | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8V1-9000-0391-1V32 | pass | completed 12/24 | JUNIOR
2 | G8V1-9000-0391-1V11 | pass | completed 12/24 | JUNIOR
3 | G8V1-9000-0391-1V19 | pass | completed 12/24 | JUNIOR
4 | G8V1-9000-0391-1V5J | pass | completed 12/24 | JUNIOR
5 | G8V1-9000-0391-1V1K | pass | completed 12/24 | JUNIOR
6 | G8V1-9000-0391-1V20 | pass | completed 12/24 | JUNIOR
7 | G8V1-9000-0391-1V22 | pass | completed 12/24 | JUNIOR
8 | G8V1-9000-0391-1V4V | pass | completed 12/24 | JUNIOR
9 | G8V1-9000-0391-2141 | pass | completed 12/24 | JUNIOR
10 | G8V1-9000-0391-1V3N | pass | completed 12/24 | JUNIOR
11 | G8V1-9000-0391-1V3J | pass | completed 12/24 | JUNIOR
12 | G8V1-9000-0391-1V4P | pass | completed 12/24 | JUNIOR
13 | G8V1-9000-0391-206R | pass | completed 12/24 | JUNIOR
14 | G8V1-9000-0391-1U65 | pass | completed 12/24 | JUNIOR
15 | G8V1-9000-0391-21AT | pass | completed 12/24 | JUNIOR
16 | G8V1-9000-0391-21BC | pass | completed 12/24 | JUNIOR
17 | G8V1-9000-0391-21AP | pass | completed 12/24 | JUNIOR
18 | G8V1-9000-0391-21BA | pass | completed 12/24 | JUNIOR
19 | G8V1-9000-0391-21BU | pass | completed 12/24 | JUNIOR
20 | G8V1-9000-0391-21A6 | pass | completed 12/24 | JUNIOR
21 | G8V1-9000-0391-21B7 | pass | completed 12/24 | JUNIOR
22 | G8V1-9000-0391-21AG | pass | completed 12/24 | JUNIOR
23 | G8V1-9000-0391-21BX | pass | completed 12/24 | JUNIOR
24 | G8V1-9000-0391-21A7 | pass | completed 12/24 | JUNIOR
BATCH NA20201102-A16? | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9000-0311-3DN5 | pass | WHW-58 (Shift in different language)(12/23) | JUNIOR
2 | G8T1-9000-0311-3DVV | pass | WHW-58 (12/23) | JUNIOR
3 | G8T1-9000-0311-3DNL | pass | WHW-58 (12/23) | JUNIOR
4 | G8T1-9000-0311-347M | pass | WHW-58 (12/23) | JUNIOR
5 | G8T1-9000-0311-3DRR | pass | WHW-58 (12/23) | JUNIOR
6 | G8T1-9000-0311-3DX5 | pass | WHW-58 (12/23) | JUNIOR
7 | G8T1-9000-0311-34C6 | pass | WHW-58 (12/23) | JUNIOR
8 | G8T1-9000-0311-34BT | pass | WHW-58 (12/23) | JUNIOR
9 | G8T1-9000-0311-34DH | pass | WHW-58 (12/23) | JUNIOR
10 | G8T1-9000-0311-3DWD | pass | WHW-58 (12/23) | JUNIOR
11 | G8T1-9000-0311-3DV7 | pass | WHW-58 (12/23) | JUNIOR
12 | G8T1-9000-0311-34BS | pass | WHW-58 (12/23) | JUNIOR
13 | G8T1-9000-0311-34BW | pass | WHW-58 (12/23) | JUNIOR
14 | G8T1-9000-0311-342G | pass | WHW-58 (12/23) | JUNIOR
15 | G8T1-9000-0311-344U | pass | WHW-58 (12/23) | JUNIOR
16 | G8T1-9000-0311-34CK | pass | WHW-58 (12/23) | JUNIOR
17 | G8T1-9000-0311-34EC | pass | WHW-58 (12/23) | JUNIOR
18 | G8T1-9000-0311-3DVW | pass | WHW-58 (12/23) | JUNIOR
19 | G8T1-9000-0311-349B | pass | WHW-58 (12/23) | JUNIOR
20 | G8T1-9000-0311-3DNA | pass | WHW-58 (12/23) | JUNIOR
21 | G8T1-9000-0311-34C2 | pass | WHW-58 (12/23) | JUNIOR
22 | G8T1-9000-0311-34A4 | pass | WHW-58 (12/23) | JUNIOR
23 | G8T1-9000-0311-34DD | pass | WHW-58 (12/23) | JUNIOR
24 | G8T1-9000-0311-34DN | pass | WHW-58 (12/23) | JUNIOR
BATCH EU20200720-A15D | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9400-0173-19FS |  | UK+EU MINI | JUNIOR
2 | G8T1-9400-0173-19GT |  | UK+EU MINI | JUNIOR
3 | G8T1-9400-0173-19GU |  | UK+EU MINI | JUNIOR
4 | G8T1-9400-0173-19GJ |  | UK+EU MINI | JUNIOR
5 | G8T1-9400-0173-19GK |  | UK+EU MINI | JUNIOR
6 | G8T1-9400-0173-19H3 |  | UK+EU MINI | JUNIOR
7 | G8T1-9400-0173-19G1 |  | UK+EU MINI | JUNIOR
8 | G8T1-9400-0173-19FN |  | UK+EU MINI | JUNIOR
9 | G8T1-9400-0173-19GM |  | UK+EU MINI | JUNIOR
10 | G8T1-9400-0173-19HA |  | UK+EU MINI | JUNIOR
11 | G8T1-9400-0173-19G2 |  | UK+EU MINI | JUNIOR
12 | G8T1-9400-0173-19GB |  | UK+EU MINI | JUNIOR
13 | G8T1-9400-0173-19GW |  | UK+EU MINI | JUNIOR
14 | G8T1-9400-0173-19G5 |  | UK+EU MINI | JUNIOR
15 | G8T1-9400-0173-19GF |  | UK+EU MINI | JUNIOR
16 | G8T1-9400-0173-19GX |  | UK+EU MINI | JUNIOR
BATCH EU20200720-A16D | SERIAL NUMBER | RESULT | COMMENT/ISSUE | TESTER
1 | G8T1-9400-0173-19GE |  | UK+EU MINI | JUNIOR
2 | G8T1-9400-0173-19H9 |  | UK+EU MINI | JUNIOR
3 | G8T1-9400-0173-19G4 |  | UK+EU MINI | JUNIOR
4 | G8T1-9400-0173-19H8 |  | UK+EU MINI | JUNIOR
5 | G8T1-9400-0173-19G3 |  | UK+EU MINI | JUNIOR
6 | G8T1-9400-0173-19GD |  | UK+EU MINI | JUNIOR
7 | G8T1-9400-0173-19GA |  | UK+EU MINI | JUNIOR
8 | G8T1-9400-0173-19FV |  | UK+EU MINI | JUNIOR
9 | G8T1-9400-0173-19GL |  | UK+EU MINI | JUNIOR
10 | G8T1-9400-0173-19FR |  | UK+EU MINI | JUNIOR
11 | G8T1-9400-0173-19H5 |  | UK+EU MINI | JUNIOR
12 | G8T1-9400-0173-19GP |  | UK+EU MINI | JUNIOR
13 | G8T1-9400-0173-19H0 |  | UK+EU MINI | JUNIOR
14 | G8T1-9400-0173-19H2 |  | UK+EU MINI | JUNIOR
15 | G8T1-9400-0173-19GV |  | UK+EU MINI | JUNIOR
16 | G8T1-9400-0173-19GR |  | UK+EU MINI | JUNIOR